***Annexure***

**Quotation**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **SN** | **Item** | **Quantity** | **Rate/unit****(In Rs)** | **Total price** |
|  | PVC insulated, aluminium conductor, armoured cable 16 sq mm (4Core) | 100 mtrs. |  |  |
|  | MCCB Four Pole 63 A with spreader links | 1 No. |  |  |
|  | MCCB Enclosure (of similar frame as of MCCB item no. 2) | 1 No. |  |  |
|  | Aluminium Thimble 35 Sqmm2 | 12 Nos. |  |  |
|  | uPVC Conduit 50mm2Heavy duty | 100 Mtrs |  |  |
|  | uPVC 50mm2 bend | 12 Nos. |  |  |
|  | Nut bolt with double washer | 12 Nos. |  |  |
|  | G.I. wire 10SWG | 100 Mtrs. |  |  |
|  | Empire Tape | 04 Nos. |  |  |
|  | PVC Insulation Tapes | 06 Nos. |  |  |
|  | Rawl Plug | 1 Nos. |  |  |
|  | Black screw 11/2” | P1 Pkt. |  |  |
|  | G.I. sanitary hooks | 300 Nos. |  |  |

|  |  |  |
| --- | --- | --- |
| **Applicable rate of GST** | **GST\*** | **Item nos.** |
| **5%** |  |
| **12%** |  |
| **18%** |  |
| **28%** |  |
| **Name and address of the bidding firm** |  |
| **Telephone no.**  |  |
| **GST no.** |  |

\*Kindly tick whatever applicable

**Signature of the proprietor with seal**